## Sheet1
IMPAIRMENT / HOT WORKS PERMIT
NOTE: | This permit must be used for ALL cutting, welding & other HOT
| works performed outside a dedicated workshop areas. | [6 empty] | Permit
| This permit must be displayed at the work site & returned upon completion | [6 empty] | Number
of work
APPLICATION FOR IMPAIRMENT / HOT WORKS PERMIT
Name of contractor | [6 empty] | Contact No.
Name of Person carrying out Work | [6 empty] | Contact No.
Location of Work
Description of Work:
Equipment to be used :
| PERMIT BEGINS |  |  |  |  | PERMIT EXPIRES
Date : / / Time: am / pm |  |  |  |  | Date : / / Time: am / pm
EMERGENCY INFORMATION
If a fire occurs, call: |  |  |  |  | at phone
Nearest fire alarm/ WIP location
CHECKLIST FOR APPLICATION (must be completed)
1. Automatic fire detection system zone no(s) ……………. Have been temporally isolated. | [8 empty] | □
2. Fire equipment to be provided as follows:
| * Fire Hose Reel | [7 empty] | □
| * Fire Extinguisher | [7 empty] | □
3. Barricades, warning signs, sparkproof screens must be provided | [8 empty] | □
4. Work area must be clear of flammable liquids, gases or combustible material | [8 empty] | □
5. Combustible materials located within 11m must be removed or protected with
non-combustible curtains, metal guards or fireproof covers (not ordinary tarpaulins) | [8 empty] | □
6. All foor & wall openings within 11m must be covered to prevent transmission of sparks | [8 empty] | □
7. The HOT WORK Area and adjoining areas must be inspected at completion and again
8. Special conditions:
AUTHORISATION BY OAKS FIRESAFTEY REPRESENTATIVE
The above work is authorised to proceed subject to the following action being taken; prior to work starting ; procedures must be maintained for the duration
of the work. Each item is to be checked by the authorised Oaks Representative prior to the commencement of work cross & initial where Not Applicable
Authorised by
PRINT NAME : |  |  |  | SIGN NAME : |  |  |  | DATE :
COMPLETION CHECKLIST & AREA SAFE
Fire Watch: The HOT WORK Area & adjoining areas for 60mins after completion | [8 empty] | □
Activate isolated Automatic fire detection system zone(s) | [8 empty] | □
Fire Monitoring: period.extending for 3hrs: |  |  |  | 1st | □ | 2nd | □ | 3rd hr | □
PRINT NAME : |  |  |  | SIGN NAME : |  |  |  | DATE :
TIME